ME 146 Liquid Flow in Microchannels Homework

A microchannel heat sink is 2.5 cm x 2.5 cm and 1.0 cm high. It has a fixed water mass flow rate of 0.05 kg/s. The fins between channels are 0.5 mm thick.  Make a plot showing how the pressure drop through the heat sink and the convection resistance change as you change the number of channels (For example, if you have only a few channels, each will be very wide and pressure drop low. If you have more channels, each will be narrower, and pressure drop should go up.). You may use a constant surface temperature boundary condition when finding the Nusselt number.

ME 146 Liquid Flow in Microchannels Homework

A microchannel heat sink is 2.5 cm x 2.5 cm and 1.0 cm high. It has a fixed water mass flow rate of 0.05 kg/s. The fins between channels are 0.5 mm thick.  Make a plot showing how the pressure drop through the heat sink and the convection resistance change as you change the number of channels (For example, if you have only a few channels, each will be very wide and pressure drop low. If you have more channels, each will be narrower, and pressure drop should go up.). You may use a constant surface temperature boundary condition when finding the Nusselt number.